## Sheet1
DDS FREQUENCY ACCURACY TEST |  |  |  |  | J. C. Roos K6IQL
Beat Freq + RF Offset Freq = Measured RF Frequency
Programmed | Predicted | Measured | RF | Measured | Error Hz re. | Error Hz re.
Frequency | Frequency | Af Beat Freq | Offset | RF | Requested | Predicted DDS
|  |  | Frequency | Frequency | Frequency | Frequency
Hz | Hz | Hz | Hz | Hz
(Figure 24)
Audio - 1 kHz | 1 Hz steps
1000 | 1000.0076 | 1000.0075 | 0 | 1000.0075 | 0.0075 | -0.0001
1001 | 1001.0088 | 1001.0088 | 0 | 1001.0088 | 0.0088 | 0
1002 | 1002.01 | 1002.0099 | 0 | 1002.0099 | 0.0099 | -0.0001
1003 | 1003.0111 | 1003.0111 | 0 | 1003.0111 | 0.0111 | 0
1004 | 1003.989 | 1003.989 | 0 | 1003.989 | -0.011 | 0
1005 | 1004.9902 | 1004.9902 | 0 | 1004.9902 | -0.0098 | 0
1006 | 1005.9914 | 1005.9914 | 0 | 1005.9914 | -0.0086 | 0
1007 | 1006.9925 | 1006.9925 | 0 | 1006.9925 | -0.0075 | 0
1008 | 1007.9937 | 1007.9937 | 0 | 1007.9937 | -0.0063 | 0
1009 | 1008.9949 | 1008.9949 | 0 | 1008.9949 | -0.0051 | 0
1010 | 1009.996 | 1009.996 | 0 | 1009.996 | -0.004 | 0
|  |  |  | max | 0.0111 | 0
|  |  |  | min | -0.011 | -0.0001
RF - 160 Meters | 1 Hz Steps
1600000 | 1600000.0061 | 1000.0062 | 1599000 | 1600000.0062 | 0.0062 | 0.0001
1600001 | 1600001.0073 | 1001.0071 | 1599000 | 1600001.0071 | 0.0071 | -0.0002
1600002 | 1600002.0085 | 1002.0084 | 1599000 | 1600002.0084 | 0.0084 | -0.0001
1600003 | 1600003.0097 | 1003.0097 | 1599000 | 1600003.0097 | 0.0097 | 0
1600004 | 1600004.0108 | 1004.0109 | 1599000 | 1600004.0109 | 0.0109 | 0.0001
1600005 | 1600004.9887 | 1004.9886 | 1599000 | 1600004.9886 | -0.0114 | -0.0001
1600006 | 1600005.9899 | 1005.9899 | 1599000 | 1600005.9899 | -0.0101 | 0
1600007 | 1600006.9911 | 1006.991 | 1599000 | 1600006.991 | -0.009 | -0.0001
1600008 | 1600007.9922 | 1007.9922 | 1599000 | 1600007.9922 | -0.0078 | 0
1600009 | 1600008.9934 | 1008.9935 | 1599000 | 1600008.9935 | -0.0065 | 0.0001
1600010 | 1600009.9946 | 1009.9945 | 1599000 | 1600009.9945 | -0.0055 | -0.0001
|  |  |  | max | 0.0109 | 0.0001
|  |  |  | min | -0.0114 | -0.0002
RF - 10 M | 5 Hz Steps
29550000 | 29550000.0007 | 1000.0007 | 29549000 | 29550000.0007 | 0.0007 | 0
29550005 | 29550005.0066 | 1005.0065 | 29549000 | 29550005.0065 | 0.0065 | -0.0001
29550010 | 29550009.9892 | 1009.9891 | 29549000 | 29550009.9891 | -0.0109 | -9.9998e-05
29550015 | 29550014.995 | 1014.9949 | 29549000 | 29550014.9949 | -0.0051 | -0.0001
29550020 | 29550020.0009 | 1020.0009 | 29549000 | 29550020.0009 | 0.0009 | 0
29550025 | 29550025.0068 | 1025.0067 | 29549000 | 29550025.0067 | 0.0067 | -9.9998e-05
29550030 | 29550029.9893 | 1029.9892 | 29549000 | 29550029.9892 | -0.0108 | -0.0001
29550035 | 29550034.9952 | 1034.9951 | 29549000 | 29550034.9951 | -0.0049 | -0.0001
29550040 | 29550040.001 | 1040.0009 | 29549000 | 29550040.0009 | 0.0009 | -9.9998e-05
29550045 | 29550045.0069 | 1045.0069 | 29549000 | 29550045.0069 | 0.0069 | 0
29550050 | 29550049.9895 | 1049.9895 | 29549000 | 29550049.9895 | -0.0105 | 0
29550055 | 29550054.9953 | 1054.9954 | 29549000 | 29550054.9954 | -0.0046 | 0.0001
|  |  |  | max | 0.0069 | 0.0001
|  |  |  | min | -0.0109 | -0.0001